## Option A — Alpha.One+
COMMERCIAL PROPOSAL — Alpha SCADA Software for TPV1
Option A — Alpha.One+ (Recommended)
1. Project Summary
| Parameter | Value
| Facility | TPV1
| I/O Points | 300 total: DI=130, DO=50, AI=100, AO=20
| Calculated Tags | 1,530 (medium information power level)
| Selected Tag Tier | 3,000 (nearest upper step)
| Communication | Siemens S7 protocol (S7-1200 CPUs, Ethernet/TCP-IP)
| Architecture | Single server, no redundancy
| Operator Stations | 1 Full client (AWS laptop)
| Remote/WEB Access | Not required
| Historian | 1 year retention, 200–500 ms scan rate
| Reports | Daily summaries, alarm reports, trend reports; Excel export
| License Type | Perpetual (no expiration)
| Support Level | OPTIMAL (updates + priority support, guaranteed response time)
2. Tag Calculation
| Signal Type | Count |  | Coefficient | Tags
| DI | 130 |  | ×2 | 260
| DO | 50 |  | ×5 | 250
| AI | 100 |  | ×10 | 1000
| AO | 20 |  | ×1 | 20
| TOTAL | 300 |  |  | 1530
Information power level: MEDIUM — standard for industrial SCADA with S7-1200 PLCs and significant analog I/O (100 AI points).
3. Software Licenses
# | SKU | Description | Qty | Unit Price | Total
1 | ONE-N3k | Alpha.One+ — 3,000 tags Includes: SCADA server + 1 built-in Full client. Best fit for single-server, single-client architecture. | 1 | 498000 | 498000
2 | DRV-PACK-INDUSTRY | Industrial Driver Pack Includes: Siemens S7, BACnet, Ethernet/IP, FINS, RP 570 Master. Provides native S7 communication with S7-1200 CPUs. | 1 | 209900 | 209900
3 | HIST-S2k | Alpha.Historian — 2,000 tags High-performance data logging with configurable scan rates (200–500 ms). 1 year data retention. | 1 | 404600 | 404600
4 | RPT-E2k | Alpha.Reports Pro — 2,000 tags Automated report generation: daily summaries, alarm reports, trend reports. Excel export capability. | 1 | 1084300 | 1084300
5 | RPT-CL1 | Alpha.Reports Client — 1 concurrent user Client access to report viewing and generation. | 1 | 79100 | 79100
|  | TOTAL LICENSES (excl. VAT) |  |  | 2275900
4. Technical Support — OPTIMAL Level (SLA-OPT)
Includes: software updates + priority remote technical support with guaranteed response time.
| Period | Description |  | Excl. VAT | VAT 22% | Incl. VAT
| 1 Year (default) | SLA OPTIMAL — annual support contract |  | 341385 | 75105 | 416490
| 5 Years | SLA OPTIMAL — 5-year support contract |  | 1706925 | 375524 | 2082449
5. Total Cost Summary
|  | Component |  | 1 Year SLA |  | 5 Year SLA
|  | Licenses (excl. VAT) |  | 2275900 |  | 2275900
|  | SLA OPTIMAL (excl. VAT) |  | 341385 |  | 1706925
|  | VAT 22% on SLA |  | 75105 |  | 375524
|  | SLA OPTIMAL (incl. VAT) |  | 416490 |  | 2082449
|  | TOTAL PAYABLE |  | 2692390 |  | 4358349
|  | incl. VAT 22% |  | 75105 |  | 375524
6. Why Alpha.One+?
• Single-server, single-client architecture — Alpha.One+ is specifically designed for this use case.
• Built-in Full client — no separate client license needed, reducing total cost.
• All SCADA functionality included: real-time monitoring, alarming, trending, scripting.
• Upgradeable: can be upgraded to Alpha.SCADA if additional clients or features are needed in the future.
• Cost-effective: lowest total cost of ownership for the given architecture.
7. What's Included / Not Included
|  | Included |  |  | Not Included
|  | ✓ Perpetual software licenses |  |  | ✗ Hardware (server, workstation, network)
|  | ✓ Siemens S7 Communication driver |  |  | ✗ Project configuration / commissioning
|  | ✓ Built-in trending & alarm management |  |  | ✗ On-site engineering services
|  | ✓ Data historian (200-500ms scan rate) |  |  | ✗ Training (available separately)
|  | ✓ Automated reports with Excel export |  |  | ✗ TPV3 licensing (separate quotation)
✓ Priority technical support (SLA OPT)
8. TPV3 Compatibility Note
TPV3 I/O data expected within 3–5 days. Upon receipt, a supplementary quotation will be provided.
Estimated additional cost for TPV3 (if similar scale): ~30–50% of server license component.
Driver pack and Reports licenses are reusable — no additional cost for these components.
Pricing calculated per 2026 tariff. This proposal is valid for 30 days.

## Option B — Alpha.SCADA
COMMERCIAL PROPOSAL — Alpha SCADA Software for TPV1
Option B — Alpha.SCADA (Scalable)
1. Project Summary
| Parameter | Value
| Facility | TPV1
| I/O Points | 300 total: DI=130, DO=50, AI=100, AO=20
| Calculated Tags | 1,530 (medium information power level)
| Selected Tag Tier | 3,000 (nearest upper step)
| Communication | Siemens S7 protocol (S7-1200 CPUs, Ethernet/TCP-IP)
| Architecture | Single server, no redundancy
| Operator Stations | 1 Full client (AWS laptop)
| Remote/WEB Access | Not required
| Historian | 1 year retention, 200–500 ms scan rate
| Reports | Daily summaries, alarm reports, trend reports; Excel export
| License Type | Perpetual (no expiration)
| Support Level | OPTIMAL (updates + priority support, guaranteed response time)
2. Tag Calculation
| Signal Type | Count |  | Coefficient | Tags
| DI | 130 |  | ×2 | 260
| DO | 50 |  | ×5 | 250
| AI | 100 |  | ×10 | 1000
| AO | 20 |  | ×1 | 20
| TOTAL | 300 |  |  | 1530
Information power level: MEDIUM — standard for industrial SCADA with S7-1200 PLCs and significant analog I/O (100 AI points).
3. Software Licenses
# | SKU | Description | Qty | Unit Price | Total
1 | SCADA-SRV3k | Alpha.SCADA Server — 3,000 tags Full-featured SCADA server with support for multiple clients, server redundancy, and WEB access (expandable). | 1 | 682900 | 682900
2 | CL-F | Full Client License Dedicated operator workstation with full control capabilities. Additional clients can be added as needed. | 1 | 174900 | 174900
3 | DRV-PACK-INDUSTRY | Industrial Driver Pack Includes: Siemens S7, BACnet, Ethernet/IP, FINS, RP 570 Master. Provides native S7 communication with S7-1200 CPUs. | 1 | 209900 | 209900
4 | HIST-S2k | Alpha.Historian — 2,000 tags High-performance data logging with configurable scan rates (200–500 ms). 1 year data retention. | 1 | 404600 | 404600
5 | RPT-E2k | Alpha.Reports Pro — 2,000 tags Automated report generation: daily summaries, alarm reports, trend reports. Excel export capability. | 1 | 1084300 | 1084300
6 | RPT-CL1 | Alpha.Reports Client — 1 concurrent user Client access to report viewing and generation. | 1 | 79100 | 79100
|  | TOTAL LICENSES (excl. VAT) |  |  | 2635700
4. Technical Support — OPTIMAL Level (SLA-OPT)
Includes: software updates + priority remote technical support with guaranteed response time.
| Period | Description |  | Excl. VAT | VAT 22% | Incl. VAT
| 1 Year (default) | SLA OPTIMAL — annual support contract |  | 395355 | 86978 | 482333
| 5 Years | SLA OPTIMAL — 5-year support contract |  | 1976775 | 434890 | 2411665
5. Total Cost Summary
|  | Component |  | 1 Year SLA |  | 5 Year SLA
|  | Licenses (excl. VAT) |  | 2635700 |  | 2635700
|  | SLA OPTIMAL (excl. VAT) |  | 395355 |  | 1976775
|  | VAT 22% on SLA |  | 86978 |  | 434890
|  | SLA OPTIMAL (incl. VAT) |  | 482333 |  | 2411665
|  | TOTAL PAYABLE |  | 3118033 |  | 5047365
|  | incl. VAT 22% |  | 86978 |  | 434890
6. Why Alpha.SCADA?
• Full-featured SCADA platform with maximum flexibility for future expansion.
• Supports multiple operator workstations — add Full clients or WEB clients as needed.
• Server redundancy available — add a backup server for failover if requirements change.
• WEB access ready — can be enabled later without replacing the server license.
• Ideal if TPV3 integration may require additional operator stations or centralized monitoring.
• Upgrade path to Alpha.Platform for enterprise-scale deployments.
7. What's Included / Not Included
|  | Included |  |  | Not Included
|  | ✓ Perpetual software licenses |  |  | ✗ Hardware (server, workstation, network)
|  | ✓ Siemens S7 Communication driver |  |  | ✗ Project configuration / commissioning
|  | ✓ Built-in trending & alarm management |  |  | ✗ On-site engineering services
|  | ✓ Data historian (200-500ms scan rate) |  |  | ✗ Training (available separately)
|  | ✓ Automated reports with Excel export |  |  | ✗ TPV3 licensing (separate quotation)
✓ Priority technical support (SLA OPT)
8. TPV3 Compatibility Note
TPV3 I/O data expected within 3–5 days. Upon receipt, a supplementary quotation will be provided.
Estimated additional cost for TPV3 (if similar scale): ~30–50% of server license component.
Driver pack and Reports licenses are reusable — no additional cost for these components.
Pricing calculated per 2026 tariff. This proposal is valid for 30 days.

## Comparison
OPTIONS COMPARISON — Alpha.One+ vs Alpha.SCADA
| Feature | Option A (One+) | Option B (SCADA)
| Product | Alpha.One+ | Alpha.SCADA
| Architecture | Single server + 1 client | Multi-client capable
| Tag Tier | 3,000 | 3,000
| Built-in Client | Yes (1 included) | Separate (CL-F)
| Redundancy | Not supported | Available (add backup)
| WEB Access | Not supported | Available (add WEB clients)
| Additional Clients | Not supported | Unlimited (add CL-F)
| License Cost | 2275900 | 2635700
| SLA OPT (1 year) | 341385 | 395355
| Total (1yr SLA) | 2692390 | 3118033
| Total (5yr SLA) | 4358349 | 5047365
| Recommendation | ✓ Best value for current scope | Best for future growth